## Power Supply Mode
Power Supply Mode Charging Algorithm for ePOWER Industrial Charger
Lithium | General LiFePo4 | Li
POWER SUPPLY MODE IS USED WHEN THE LITHIUM BATTERY BMS HAS DISCONNECTED THE BATTERY NEGATIVE TERMINAL
Instructions to Reset Lithium batteries
1 – Connect the EPI charger to battery bank
2 – Connect the AC power to EPI charger and switch it on
3 – Plug the USB with the Power Supply Mode software into the charger
This activates the power supply mode and will unlock and start charging the battery.
Leave this on for at least about 30 minutes to put some charge back into the battery.
To return to normal mode
1 - Switch the AC supply to the charger off.
2 – Unplug the USB
3 – Turn the AC supply to the charger back on
4 – Leave the charger on to fully charge the battery

## EPI-2430 Algorithm Listing
Charging Algorithms to suit the Enerdrive EPI-2430 ePOWER Industrial Charger | [5 empty] | Please refer to the Install Instructions Tab
Algorithm No. | Manufacturer | Model | Type | Battery Ah Capacity @ C20 Rating | Charging Profile
b38 | Lithium | General LiFePo4 | Li | 100
b01 | Common | Common type of flooded | Flooded | 300
b02 | Trojan | TROJAN T105 | Flooded | 225
b04 | Discover | Discover AGM | AGM | 250
b05 | US | US battery Flooded | Flooded | 250
b06 | Trojan | Trojan 30XHS | Flooded | 130
b07 | Trojan | Trojan T125 | Flooded | 240
b08 | Trojan | Trojan J305 | Flooded | 330
b10 | Trojan | Trojan T145 | Flooded | 260
b11 | Trojan | Trojan T1275 | Flooded | 150
b12 | Discover | Discover DGC6A-220D AGM | AGM | 220
b13 | Trojan | Trojan T605 | Flooded | 210
b18 | Trojan | Trojan T875 Flooded | Flooded | 170
b19 | US | US2000 Flooded | Flooded | 216
b20 | US | US2200 Flooded | Flooded | 232
b21 | US | US250hc Flooded | Flooded | 280
b25 | Fullriver | Fullriver DC224-6 AGM | Flooded | 224
b27 | Trojan | Trojan L16P-AC Flooded | Flooded | 420
b28 | Common | Generic 200-370Ah AGM | AGM | 300
b29 | US | US.8VGCXC2 Flooded | Flooded | 170
b30 | US | US. 12VXC2 Flooded | Flooded | 155
b31 | US | US 305XC Flooded | Flooded | 310
b32 | US | US 125 XC2 FLA | Flooded | 242
b33 | US | US 145 XC2 FLA | Flooded | 251
b34 | Crown | Crown CR-235 FLA | Flooded | 235
b35 | Crown | Crown CR-245 FLA | Flooded | 245

## EPI-3620 Algorithm Listing
Charging Algorithms to suit the Enerdrive EPI-3620 ePOWER Industrial Charger | [5 empty] | Please refer to the Install Instructions Tab
Algorithm No. | Manufacturer | Model | Type | Battery Ah Capacity @ C20 Rating | Charging Profile
b38 | Lithium | General LiFePo4 | Li | 100
b01 | Common | Common type of flooded | Flooded | 300
b02 | Trojan | TROJAN T105 | Flooded | 225
b04 | Discover | Discover AGM | AGM | 250
b05 | US | US battery Flooded | Flooded | 250
b06 | Trojan | Trojan 30XHS | Flooded | 130
b07 | Trojan | Trojan T125 | Flooded | 240
b08 | Trojan | Trojan J305 | Flooded | 330
b10 | Trojan | Trojan T145 | Flooded | 260
b11 | Trojan | Trojan T1275 | Flooded | 150
b12 | Discover | Discover DGC6A-220D AGM | AGM | 220
b13 | Trojan | Trojan T605 | Flooded | 210
b18 | Trojan | Trojan T875 Flooded | Flooded | 170
b19 | US | US2000 Flooded | Flooded | 216
b20 | US | US2200 Flooded | Flooded | 232
b21 | US | US250hc Flooded | Flooded | 280
b25 | Fullriver | Fullriver DC224-6 AGM | Flooded | 224
b27 | Trojan | Trojan L16P-AC Flooded | Flooded | 420
b28 | Common | Generic 200-370Ah AGM | AGM | 300
b29 | US | US.8VGCXC2 Flooded | Flooded | 170
b30 | US | US. 12VXC2 Flooded | Flooded | 155
b31 | US | US 305XC Flooded | Flooded | 310
b32 | US | US 125 XC2 FLA | Flooded | 242
b33 | US | US 145 XC2 FLA | Flooded | 251
b34 | Crown | Crown CR-235 FLA | Flooded | 235
b35 | Crown | Crown CR-245 FLA | Flooded | 245

## EPI-4815 Algorithm Listing
Charging Algorithms to suit the Enerdrive EPI-4815 ePOWER Industrial Charger | [5 empty] | Please refer to the Install Instructions Tab
Algorithm No. | Manufacturer | Model | Type | Battery Ah Capacity @ C20 Rating | Charging Profile
b38 | Lithium | General LiFePo4 | Li | 100
b01 | Common | Common type of flooded | Flooded | 300
b02 | Trojan | TROJAN T105 | Flooded | 225
b04 | Discover | Discover AGM | AGM | 250
b05 | US | US battery Flooded | Flooded | 250
b06 | Trojan | Trojan 30XHS | Flooded | 130
b07 | Trojan | Trojan T125 | Flooded | 240
b08 | Trojan | Trojan J305 | Flooded | 330
b10 | Trojan | Trojan T145 | Flooded | 260
b11 | Trojan | Trojan T1275 | Flooded | 150
b12 | Discover | Discover DGC6A-220D AGM | AGM | 220
b13 | Trojan | Trojan T605 | Flooded | 210
b18 | Trojan | Trojan T875 Flooded | Flooded | 170
b19 | US | US2000 Flooded | Flooded | 216
b20 | US | US2200 Flooded | Flooded | 232
b21 | US | US250hc Flooded | Flooded | 280
b25 | Fullriver | Fullriver DC224-6 AGM | Flooded | 224
b27 | Trojan | Trojan L16P-AC Flooded | Flooded | 420
b28 | Common | Generic 200-370Ah AGM | AGM | 300
b29 | US | US.8VGCXC2 Flooded | Flooded | 170
b30 | US | US. 12VXC2 Flooded | Flooded | 155
b31 | US | US 305XC Flooded | Flooded | 310
b32 | US | US 125 XC2 FLA | Flooded | 242
b33 | US | US 145 XC2 FLA | Flooded | 251
b34 | Crown | Crown CR-235 FLA | Flooded | 235
b35 | Crown | Crown CR-245 FLA | Flooded | 245

## EPI-4835 Algorithm Listing
Charging Algorithms to suit the Enerdrive EPI-4835 ePOWER Industrial Charger | [5 empty] | Please refer to the Install Instructions Tab
Algorithm No. | Manufacturer | Model | Type | Battery Ah Capacity @ C20 Rating | Charging Profile
b38 | Lithium | General LiFePo4 | Li | 100
b01 | Common | Common type of flooded | Flooded | 300
b02 | Trojan | TROJAN T105 | Flooded | 225
b04 | Discover | Discover AGM | AGM | 250
b05 | US | US battery Flooded | Flooded | 250
b06 | Trojan | Trojan 30XHS | Flooded | 130
b07 | Trojan | Trojan T125 | Flooded | 240
b08 | Trojan | Trojan J305 | Flooded | 330
b10 | Trojan | Trojan T145 | Flooded | 260
b11 | Trojan | Trojan T1275 | Flooded | 150
b12 | Discover | Discover DGC6A-220D AGM | AGM | 220
b13 | Trojan | Trojan T605 | Flooded | 210
b18 | Trojan | Trojan T875 Flooded | Flooded | 170
b19 | US | US2000 Flooded | Flooded | 216
b20 | US | US2200 Flooded | Flooded | 232
b21 | US | US250hc Flooded | Flooded | 280
b25 | Fullriver | Fullriver DC224-6 AGM | Flooded | 224
b27 | Trojan | Trojan L16P-AC Flooded | Flooded | 420
b28 | Common | Generic 200-370Ah AGM | AGM | 300
b29 | US | US.8VGCXC2 Flooded | Flooded | 170
b30 | US | US. 12VXC2 Flooded | Flooded | 155
b31 | US | US 305XC Flooded | Flooded | 310
b32 | US | US 125 XC2 FLA | Flooded | 242
b33 | US | US 145 XC2 FLA | Flooded | 251
b34 | Crown | Crown CR-235 FLA | Flooded | 235
b35 | Crown | Crown CR-245 FLA | Flooded | 245

## EPI-4860 Algorithm Listing
Charging Algorithms to suit the Enerdrive EPI-4860 ePOWER Industrial Charger | [5 empty] | Please refer to the Install Instructions Tab
Algorithm No. | Manufacturer | Model | Type | Battery Ah Capacity @ C20 Rating | Charging Profile
b38 | Lithium | General LiFePo4 | Li | 200
b01 | Common | Common type of flooded | Flooded | 300
b02 | Trojan | TROJAN T105 | Flooded | 225
b04 | Discover | Discover AGM | AGM | 250
b05 | US | US battery Flooded | Flooded | 250
b06 | Trojan | Trojan 30XHS | Flooded | 130
b07 | Trojan | Trojan T125 | Flooded | 240
b08 | Trojan | Trojan J305 | Flooded | 330
b10 | Trojan | Trojan T145 | Flooded | 260
b11 | Trojan | Trojan T1275 | Flooded | 150
b12 | Discover | Discover DGC6A-220D AGM | AGM | 220
b13 | Trojan | Trojan T605 | Flooded | 210
b18 | Trojan | Trojan T875 Flooded | Flooded | 170
b19 | US | US2000 Flooded | Flooded | 216
b20 | US | US2200 Flooded | Flooded | 232
b21 | US | US250hc Flooded | Flooded | 280
b25 | Fullriver | Fullriver DC224-6 AGM | Flooded | 224
b27 | Trojan | Trojan L16P-AC Flooded | Flooded | 420
b28 | Common | Generic 200-370Ah AGM | AGM | 300
b29 | US | US.8VGCXC2 Flooded | Flooded | 170
b30 | US | US. 12VXC2 Flooded | Flooded | 155
b31 | US | US 305XC Flooded | Flooded | 310
b32 | US | US 125 XC2 FLA | Flooded | 242
b33 | US | US 145 XC2 FLA | Flooded | 251
b34 | Crown | Crown CR-235 FLA | Flooded | 235
b35 | Crown | Crown CR-245 FLA | Flooded | 245